## Slide 1
Panel Discussion on Process Control for
HEPA Filters: ACFM vs. SCFM
Craig I. Ricketts
Project Engineer
Engineering Services Company, LLC
Las Cruces, New Mexico USA

## Slide 2: ACFM, or SCFM ?
It depends … ,
upon:
relevant psychrometric conditions
type of processes undergone by air/gas
application in the practice of analysis,
design, testing, or performance
comparisons

## Slide 3: Psychrometric conditions
temperature, pressure, relative humidity, water droplet content:
low, moderate, or elevated values?

## Slide 4: Processes undergone by air/gas
temperature change with
heat addition/removal – high/low?
temperature, or pressure change with
work addition/removal – high/low?
density change – high/low?
phase change - water/water vapor – Y/N?
humidification/dehumidification – high/low?

## Slide 5: Analysis, design, testing, and performance comparisons: SCFM
to compare performance characteristics
of different-scale components/systems
in simulation codes used by US nat. labs
equipment sizing during typical HVAC system design process. - SCFM not used.
flow test and balance - SCFM not used.
state EPA stack testing - SCFM rarely used.

## Slide 6: ACFM hardware components
Examples:
mechanical separation devices:
particle filters, droplet separators
sorption separation units: vapor adsorbers
dampers/ductwork
fans, blowers having lower peak pressures
heaters/heat exchangers - for lower DT’s.

## Slide 7: Conclusions
For ACFM or SCFM - what are case-specific:
psychrometric conditions ?
processes undergone by air/gas ?
relevant hardware components ?
relevant practical application(s) ?
Ball’s in your court.